## F1_pricelist
| QALCOSONIC F1 PRICE LIST Ultrasonic water meters | [7 empty] | Updated: | 2022-05-09
BASIC MODIFICATION |  | Size | Connection | L, mm | qp |  | PRICE for basic modification
Jaehind
| - T30 cold water meter - R250 dynamic range - IP68 protection class - PN25 | Threaded connection
|  | DN40 | G2 | 300 mm | 10/16 m3/h |  |  | End-of-Sales | 2022.07.01 | 412.5
Flanged connection
|  | DN50 | DN50 FL | 270 mm | 16/25 m3/h |  |  |  |  | 655
|  | DN65 | DN65 FL | 300 mm | 25/40 m3/h |  |  |  |  | 1072.5
|  | DN80 | DN80 FL | 300 mm | 40/63 m3/h |  |  |  |  | 1340
|  | DN100 | DN100 FL | 360 mm | 63/100 m3/h |  |  |  |  | 1487.5
OPTIONS | Name | Parameter |  |  | Note |  |  |  |  | Jaehind
General | Dynamic range | R400 | [7 empty] | 17.5
| Hot water | T90 or T30-90 |  |  | MOQ >20 units |  |  |  |  | 7.5
| External power supply | Module 24V DC | [7 empty] | 30
| External power supply | Module 24V DC + mains unit 230 VAC | [7 empty] | 55
Communication | One of the possible communications | Mbus | [7 empty] | 17.5
|  | Wmbus 868 MHz or 433MHz | [7 empty] | 25
|  | Mod-Bus | [7 empty] | 87.5
|  | BacNet | [7 empty] | 87.5
|  | LoRa WAN | [7 empty] | 30
|  | LoRa WAN + Wmbus 868 MHz | [7 empty] | 37.5
Inputs/Outputs | Pulse I/O | 1 or 2 pulse I/O | [7 empty] | 7.5
Customization | Custom marking on the nameplate | Additional logo, special # / bar / QR code | [7 empty] | 2.5
|  | MID certificate revision |  |  | One time fee |  |  |  |  | 1750
ACCESSORIES | Name | Parameter |  |  | Note | QTY | Ordering code |  | Jaehind
Optical head | Optical head | Optical head OG-1-USB |  |  | ordered separately | 1 pcs | SG13717 |  |  | 187.5
Power supply | Power supply | 230V AC transformer |  |  | ordered separately | 1 pcs | SG13227 |  |  | 40
| Power supply (service part) | Module 24V DC |  |  | ordered separately | 1 pcs | SG13226 |  |  | 40
| Battery (service part) | AA cell (minimum 2 pcs/meter required) |  |  | ordered separately | 1 pcs | SG13725 |  |  | 10
| Flow sensor fittings (couplings) | DN15 (G3/4) flow sensor mounting kit |  |  |  | 1 set |  |  |  | 10
|  | DN20 (G1) flow sensor mounting kit |  |  |  | 1 set |  |  |  | 12.5
|  | DN25 (G1 1/4) flow sensor mounting kit |  |  |  | 1 set |  |  |  | 25
|  | Welded type flanged kit for DN50 |  |  |  | 1 set | sell until out of stock |  |  | 60
|  | Welded type flanged kit for DN65 |  |  |  | 1 set | sell until out of stock |  |  | 65
|  | Welded type flanged kit for DN80 |  |  |  | 1 set | sell until out of stock |  |  | 120
|  | Welded type flanged kit for DN100 |  |  |  | 1 set | sell until out of stock |  |  | 130
| Warranty period |  |  |  | Delivery conditions
| 2 years (24 months) from the date of manufacturing |  |  |  | Ex Works Tallinn, Estonia
| acc. to terms & conditions stipulated in Standard Limited Warranty Policy |  |  |  | All prices are subject to change without prior notice
This document and any documentation related hereto shall be deemed to be confidential and inteded for internal information only and shall not be disclosed or made available to any third party except expressly authorized by the Axioma for each specific case.
+372 6799 366 ¦¦ info@optimatic.ee ¦¦ Kadaka tee 181 Tallinn 12618 Estonia ¦¦ www.optimatic.ee

## W1 LoRa_Wmbus
| QALCOSONIC W1 PRICE LIST Water meters | [7 empty] | Updated: | 2022-05-09
METER QALCOSONIC W1 R80…R400 T30 or T50 IP68, PN16 | Communication |  |  | Size (connection) | Length, mm | Qnom | PRICE EUR
Jaehind
OR | LoraWAN+Wmbus Version for EU specific countries * | Lora (EU863-870) + Wmbus | 13 years battery lifetime | DN15 (G¾") | L80, L105, L110, L115, L165, L170 | 1,6 / 2,5 m3/h |  |  |  | 135
|  |  |  | DN20 (G1") | L105, L110, L130, L165, L190 | 2,5 / 4.0 m3/h |  |  |  | 135
|  |  |  | DN25 (G1¼") | L260 | 6.3 / 10.0 m3/h |  |  |  | 215
|  |  |  | DN32 (G1½") | L260 | 6.3 / 10.0 m3/h |  |  |  | 270
|  |  | 16 years battery lifetime | DN40 (G2") | L300 | 10 / 16 / 25 m3/h |  | from 2022 Q2 |  | 357.5
|  |  |  | DN50 flange | L200 | 16 / 25 / 40 m3/h |  | from 2022 Q3 |  | 685
OPTIONS | [6 empty] | Jaehind
HOT water |  |  |  | T90 or T30-T90 | T90 or T30-T90 |  | 5
Dynamic range R800 |  |  |  | Available for: - DN15 2,5 m3/h - DN20 4 m3/h - DN25 6,3 / 10 m3/h @ T30 - DN32 10 m3/h @ T30 - DN40 25 m3/h - DN50 25 / 40 m3/h | Available for: - DN15 2,5 m3/h - DN20 4 m3/h - DN25 6,3 / 10 m3/h @ T30 - DN32 10 m3/h @ T30 - DN40 25 m3/h - DN50 25 / 40 m3/h |  | 10 |  |  | 4
Custom marking on the nameplate |  |  |  | Add logo, special serial number, special bar / QR code | Add logo, special serial number, special bar / QR code |  | Not available |  | 2.5
|  |  |  | One-time fee for MID revision | One-time fee for MID revision |  | Not available |  | 1750
ACCESSORIES | [6 empty] | Jaehind
Standard protective lid (yellow color) |  |  |  | Supplied only with a meter |  |  | 2.5
Optical head with special holder DN15, DN20 |  |  |  | Applicable for all modifications |  |  | 250 |  |  | 100
Optical head with special holder DN25, DN32, DN40, DN50FL |  |  |  | Applicable for all modifications |  |  | 250 |  |  | 100
Backflow valve option for DN15 |  |  |  | Not applicable for G¾" L80. Supplied only with a meter |  |  | 6.25 |  |  | 2.5
Backflow valve option for DN20 |  |  |  | Supplied only with a meter |  |  | 8.75 |  |  | 3.5
Backflow valve option for DN25 |  |  |  | Supplied only with a meter |  |  | 11.25 |  |  | 4.5
Strainer for DN15, DN20 |  |  |  | Supplied only with a meter |  |  | 1.25 |  |  | 0.5
Strainer for DN25, DN32 |  |  |  | Supplied only with a meter |  |  | 2.5 |  |  | 1
Connection kit (brass fittings) for DN15 L38 |  |  |  | Supplied only with a meter |  |  | 10 |  |  | 4
Connection kit (brass fitting + flexible pipe) for DN15 |  |  |  | Supplied only with a meter |  |  | 15 |  |  | 6
Connection kit (fittings) for DN20 L45 |  |  |  | Supplied only with a meter |  |  | 12.5 |  |  | 5
Connection kit (brass fitting + flexible pipe) for DN20 |  |  |  | Supplied only with a meter |  |  | 20 |  |  | 8
Connection kit (fittings) for DN25 L46 |  |  |  | Supplied only with a meter |  |  | 22.5 |  |  | 9
Connection kit (fittings) for DN32 L56 |  |  |  | Supplied only with a meter |  |  | 27.5 |  |  | 11
Connection kit (fittings) for DN40 |  |  |  | Supplied only with a meter |  |  | 47.5 |  |  | 19
Sealing gaskets (2 pcs) for DN15, DN20, DN25, DN32 |  |  |  | Supplied only with a meter |  |  | 1.25 |  |  | 0.5
* EU specific countries
Albania | Andorra | Armenia | Austria | Azerbaijan | Belarus | Bosnia | Bosnia | Bulgaria | Croatia | Czechia
Estonia | Hungary | Iceland | Ireland | Kosovo | Latvia | Liechtenstein | Lithuania | Luxembourg | Moldova | Montenegro
North Macedonia | Romania | San Marino | Serbia | Slovakia | Slovenia | Switzerland | United Kingdom (UK)
| Warranty period |  |  |  |  | Delivery conditions
| 2 years (24 months) from the date of manufacturing |  |  |  |  | Ex Works Tallinn, Estonia
| acc. to terms & conditions stipulated in Standard Limited Warranty Policy |  |  |  |  | All prices are subject to change without prior notice
This document and any documentation related hereto shall be deemed to be confidential and inteded for internal information only and shall not be disclosed or made available to any third party except expressly authorized by the Axioma for each specific case.
+372 6799 366 ¦¦ info@optimatic.ee ¦¦ Kadaka tee 181 Tallinn 12618 Estonia ¦¦ www.optimatic.ee

## E3_E4_pricelist
| QALCOSONIC E3 / QALCOSONIC E4 PRICE LIST Energy meters for heating and cooling applications | [6 empty] | Updated: | 2022-05-09
BASIC MODIFICATION |  | Size | Connection | L, mm | qp | PRICE for basic modification
Jaehind
QALCOSONIC E3 (brass) | Openable housing (replaceable battery, sensors & com. modules) - R100 - 1.2 m flow sensor cable - IP65 protection class - PN25 - Temp. sensors pair - M-Bus communication | DN15 | G3/4 | 110 mm | 0.6/1.0/1.5 m3/h |  | 197.5
|  | DN20 | G1 | 130 mm | 1,5/2.5 m3/h |  | 207.5
|  | DN25 | G1 1/4 | 260 mm | 3,5 m3/h |  | 320
|  | DN25 | G1 1/4 | 260 mm | 6 m3/h |  | 395
|  | DN40 | G2 | 300 mm | 10 m3/h |  | 415
|  | DN50 | DN50 FL | 270 mm | 15 m3/h |  | 670
|  | DN65 | DN65 FL | 300 mm | 25 m3/h |  | 1125
|  | DN80 | DN80 FL | 300 mm | 40 m3/h |  | 1267.5
|  | DN100 | DN100 FL | 360 mm | 60 m3/h |  | 1350
|  | DN20 | G1 | 190 mm | 0.6/1.0/1.5/2.5 m3/h |  | 177.5 |  | sales until out of stock
|  | DN20 | DN20FL | 190 mm | 0.6/1.0/1.5/2.5 m3/h |  | 177.5 |  | sales until out of stock
|  | DN25 | DN25FL | 260 mm | 3.5/6.0 m3/h |  | 350 |  | sales until out of stock
|  | DN40 | DN40 FL | 300 mm | 10 m3/h |  | 425 |  | sales until out of stock
QALCOSONIC E4 (composite) | Openable housing - R100 - 1.2 m flow sensor cable - IP65 protection class - PN16 - Temp. sensors pair - M-Bus communication | DN15 | G3/4 | 110 mm | 0.6/1.0/1.5 m3/h |  | 170
|  | DN20 | G1 | 130 mm | 1,5/2,5 m3/h |  | 175
|  | DN25 | G1 1/4 | 260 mm | 3,5/6 m3/h |  | 262.5
|  | DN32 | G1 1/2 | 260 mm | 3,5/6 m3/h |  | 270
|  | DN40* | G2 | 300 mm | 10 m3/h |  | 365
* G2 (DN40) threaded - available in Q4 2022
OPTIONS | Name | Parameter |  |  | Note |  |  |  | Jaehind
General | Dynamic range | R250 |  |  | N/A for 0.6 / 1.0m³/h |  |  |  | 5
| Housing IP protection class | IP68 Non-modular |  |  | MOQ >100 units |  |  |  | 7.5
| External power supply | Module 24V DC |  |  | only without I/O |  |  |  | 37.5
| External power supply | Module 24V DC + mains unit 230 VAC |  |  | only without I/O |  |  |  | 52.5
Communication | 2-nd communication | 868 MHz Wmbus | [6 empty] | 7.5
| 3-rd communication | Mod-Bus module |  |  | only without I/O |  |  |  | 87.5
|  | BacNet module |  |  | only without I/O |  |  |  | 87.5
|  | LoRa module | [6 empty] | 37.5
| Additional pulse inputs/outputs | Universal pulse I/O | [6 empty] | 7.5
Cable length | Flow sensors | 2.5 m |  |  | only E3 |  |  |  | 3.75
|  | 5 m |  |  | only E3 |  |  |  | 7.5
| Temperature sensors | 3 m | [6 empty] | 21.25
|  | 5 m | [6 empty] | 33.75
|  | 10 m | [6 empty] | 65
Customization | Custom marking on the nameplate | Additional logo, special # / bar / QR code | [6 empty] | 2.5
|  | MID certificate revision |  |  | One time fee |  |  |  | 1750
ACCESSORIES | Name | Parameter |  |  | Note | QTY | Ordering code |  | Jaehind
Optical head | Optical head | Optical head OG-1-USB |  |  | ordered separately | 1 pcs | SG13717 |  | 205
Power supply | Power transformer | Mains unit 230 V AC |  |  | ordered separately | 1 pcs | KTP14101 |  | 30
| Battery | 3.6 V DC (AA cell) |  |  | ordered separately | 1 pcs | SG14108 |  | 7
Mounting kits | Protection valve for Ø 5.2 mm temperature sensors | DN15 for direct sensor |  |  |  | 1 pcs |  |  | 27.5
|  | DN15 for direct sensor pack |  |  | ordered separately | 60 pcs | SG14111 |  | 1500
|  | DN20 for direct sensor |  |  |  | 1 pcs |  |  | 30
|  | DN20 for direct sensor pack |  |  | ordered separately | 50 pcs | SG14112 |  | 1500
| Pockets for temperature sensors | Ø 5.2 mm, brass, 85 mm length |  |  |  | 1 pair |  |  | 67.5
|  | Ø 5.2 mm, brass, 85 mm length pack |  |  | ordered separately | 50 pairs | SG14113 |  | 3250
|  | Ø 6.0 mm, brass, 85 mm length |  |  | only E3 | 1 pair |  |  | 65
|  | Ø 6.0 mm, brass, 85 mm length pack |  |  | ordered separately | 50 pairs | SG14114 |  | 3000
| Flow sensor fittings (couplings) | DN15 (G3/4) flow sensor mounting kit |  |  |  | 1 set |  |  | 10
|  | DN20 (G1) flow sensor mounting kit |  |  |  | 1 set |  |  | 12.5
|  | DN25 (G1 1/4) flow sensor mounting kit |  |  |  | 1 set |  |  | 25
| Warranty period |  |  |  | Delivery conditions
| 2 years (24 months) from the date of manufacturing |  |  |  | Ex Works Tallinn Estonia
| acc. to terms & conditions stipulated in Standard Limited Warranty Policy |  |  |  | All prices are subject to change without prior notice
This document and any documentation related hereto shall be deemed to be confidential and inteded for internal information only and shall not be disclosed or made available to any third party except expressly authorized by the Axioma for each specific case.
+372 6799 366 ¦¦ info@optimatic.ee ¦¦ Kadaka tee 181 Tallinn 12618 Estonia ¦¦ www.optimatic.ee